## Slide 1: Intrusion Detection System (IDS) Network Traffic
A Data-Driven Analysis of an Industrial Control System (ICS)

## Slide 2
IDS/ICS Breakdown
Protocol Use
Data Flow
Targeted IP Addresses
Malicious Traffic - Time on Network
Malicious Connection States
Amount of Data Transferred
Implications and Recommendations
Sources
Overview

## Slide 3
Intrusion Detection System (IDS)
  Monitors network traffic
  Information is typically sent to a Security Information and Event Management System (SIEM)
  If capable of responding to a detected intrusion, IDS is called an Intrusion Prevention System (IPS)
Network intrusion detection systems (NIDS): Analyzes incoming network traffic
Host-based intrusion detection systems (HIDS): Monitors important operating system files
Industrial Control System (ICS) – Control processes for industrial systems such as manufacturing, product handling, production, and distribution
  Electrical, mechanical, hydraulic, pneumatic, etc
  Often uses UDP
    Older, less reliable protocol, but faster than TCP
What is an IDS
Notes: https://www.barracuda.com/support/glossary/intrusion-detection-system#:~:text=An%20intrusion%20detection%20system%20(IDS,information%20and%20event%20management%20system
https://csrc.nist.gov/glossary/term/industrial_control_system#:~:text=Industrial%20control%20systems%20include%20supervisory,controllers%20to%20control%20localized%20processes
  Supervisory Control and Data Acquisition (SCADA)
  Distributed control systems (DCS)
  Programmable logic controllers (PLC)

## Slide 4
All Traffic – Protocol Use
This network traffic typically uses UDP, while the malicious traffic almost always comes over TCP.

## Slide 5
Benign Traffic - Protocol

## Slide 6
Malicious Traffic Protocol

## Slide 7
All Traffic – Protocol Use
May be wise to limit, if not eliminate, TCP traffic for targeted ICS devices.

## Slide 8
Data Flow

## Slide 9
Targeted IP Addresses

## Slide 10
Time on Network per Event

## Slide 11
IP of 13 Hour Event

## Slide 12
Connection States

## Slide 13
Amount of Data from Origin
The 72.05 MB event is targeting IP 74.91.117.248 and is the only time this IP is seen in the IDS data.

## Slide 14
Data Sent

## Slide 15
IDS Network Traffic

## Slide 16
Recommendations
Your IDS sucks