## Slide 1: Intrusion Detection System (IDS) Network Traffic
A Data-Driven Analysis of an Industrial Control System (ICS)

## Slide 2
Intrusion Detection System (IDS) Breakdown
Malicious vs Benign Traffic
Protocols Used
Malicious Traffic - Time on Network
Malicious Connection States
Amount of Data Transferred
Targeted IP Addresses
Overview

## Slide 3
Intrusion Detection System (IDS)
  Monitors network traffic
  Information is typically sent to a Security Information and Event Management System (SIEM)
  If capable of responding to a detected intrusion, IDS is called an Intrusion Prevention System (IPS)
Network intrusion detection systems (NIDS): Analyzes incoming network traffic
Host-based intrusion detection systems (HIDS): Monitors important operating system files
Industrial Control System (ICS) – Control processes for industrial systems such as manufacturing, product handling, production, and distribution
  Electrical, mechanical, hydraulic, pneumatic, etc
  Often uses UDP
    Older, less reliable protocol, but faster than TCP
What is an IDS
Notes: https://www.barracuda.com/support/glossary/intrusion-detection-system#:~:text=An%20intrusion%20detection%20system%20(IDS,information%20and%20event%20management%20system.
https://csrc.nist.gov/glossary/term/industrial_control_system#:~:text=Industrial%20control%20systems%20include%20supervisory,controllers%20to%20control%20localized%20processes.
  Supervisory Control and Data Acquisition (SCADA)
  Distributed control systems (DCS)
  Programmable logic controllers (PLC)

## Slide 4
All Traffic – Protocol Use
This network traffic typically uses UDP, while the malicious traffic almost always comes over TCP.

## Slide 5
Benign Traffic - Protocol

## Slide 6
Malicious Traffic Protocol

## Slide 7
All Traffic – Protocol Use
May be wise to limit, if not eliminate, TCP traffic for targeted ICS devices.

## Slide 8
Data Flow

## Slide 9
Targeted IP Addresses

## Slide 10
Time on Network per Event

## Slide 11
Connection States

## Slide 12
Amount of Data from Origin

## Slide 13
Data Sent

## Slide 14
IDS Network Traffic

## Slide 15
IDS Network Traffic